HALOGUARD IR

SYSTEM LAYOUT

# Text boxes

Maximum length from Controller to IR Module 1000 FT.

Haloguard IR

Controller

5.5”Wx9.0”Hx4.0”D

Line Cord

120 VAC

50/60Hz.

8’ Cable w/ DIN Connector

POWER      OFF SCALE

FAULT           ALARM 2

TEST              ALARM 1

PPM

Reset Button

Haloguard IR

Module 6.5”Wx

Line Cord

120 VAC

50/60Hz.

Maximum extension 200 FT of 1/8” ID tubing. End of line filter required

Locate sample point 18-24” AFF

3’ of 1/8” ID tubing and

end of line filter is provided

Outputs

(4) Relay Contacts

(1)  0 - 5 VDC or 4-20mA